## SET A - GSW Cypress
RFQ ID | Plan Set | Supplier Category | Material Name | Material Size | Specification | Quantity | Unit | Plan Sheet Reference | Quote Due Date | Unit Price | Extended Price | Vendor | Notes
RFQ-A-001 | GSW Cypress | Pipe Supplier | PVC Water Main Pipe | 8" | AWWA C900; GSWC P-13 | 530.22 | LF | P-1 CN-31
RFQ-A-002 | GSW Cypress | Pipe Supplier | Ductile Iron Pipe | 6" | AWWA C151 | 90 | LF | P-1 CN-110
RFQ-A-003 | GSW Cypress | Pipe Supplier | Ductile Iron Pipe | 4" | AWWA C151 | QUANTITY_REQUIRED | LF | P-1 Detail 1
RFQ-A-004 | GSW Cypress | Pipe Supplier | Stainless Steel Pipe | 4" | U.L. listed | 10 | LF | P-1 Detail 1
RFQ-A-005 | GSW Cypress | Valve Supplier | MJ Gate Valve with Valve Box Type 3 | 8" | GSWC P-32, P-43 | 2 | EA | P-1 CN-32
RFQ-A-006 | GSW Cypress | Valve Supplier | OS&Y Resilient Wedge Gate Valve | 6" | AWWA C509 | 2 | EA | P-1 Detail 1
RFQ-A-007 | GSW Cypress | Valve Supplier | Post Indicator Valve | 6" | USC approved | 2 | EA | P-1 Detail 1
RFQ-A-008 | GSW Cypress | Fire Hydrant Supplier | Wet Barrel Fire Hydrant Assembly | 6" | GSWC P-8 | 2 | EA | P-1 CN-33
RFQ-A-009 | GSW Cypress | Fittings Supplier | MJ DI 90° Bend with Thrust Block | 8" | GSWC P-18 | 1 | EA | P-1 CN-44
RFQ-A-010 | GSW Cypress | Fittings Supplier | MJ DI Reducing Tee with Thrust Block | 8" x 6" | GSWC P-18 | 2 | EA | P-1 CN-48
RFQ-A-011 | GSW Cypress | Fittings Supplier | Tapping Sleeve with FE x MJ Tapping Valve | 12" x 8" | GSWC P-18, P-23 | 1 | EA | P-1 CN-88
RFQ-A-012 | GSW Cypress | Fittings Supplier | Fire Hydrant Branch Tee | 6" x 4" x 2-1/2" | GSWC P-18 | 2 | EA | P-1
RFQ-A-013 | GSW Cypress | Fittings Supplier | MJ DI Tee | 6" x 6" x 4" | AWWA C151 | 2 | EA | P-1 Detail 1
RFQ-A-014 | GSW Cypress | Fittings Supplier | MJ DI 90° Bend | 4" | AWWA C151 | 2 | EA | P-1 Detail 1
RFQ-A-015 | GSW Cypress | Fittings Supplier | MJ DI Tee | 4" | AWWA C151 | 2 | EA | P-1 Detail 1
RFQ-A-016 | GSW Cypress | Fittings Supplier | U.L. Listed SS Riser Sweep | 4" | U.L. listed | 2 | EA | P-1 Detail 1
RFQ-A-017 | GSW Cypress | Service Supplier | 1" Domestic Water Service Assembly | 1" | GSWC P-25, P-26 | 20 | EA | P-1 CN-100
RFQ-A-018 | GSW Cypress | Service Supplier | 1" Irrigation Water Service Assembly | 1" | GSWC P-25, P-26, P-35A | 2 | EA | P-1 CN-101
RFQ-A-019 | GSW Cypress | Service Supplier | 6" Fire Water Service Assembly | 6" | GSWC P-35B | 2 | EA | P-1 CN-110
RFQ-A-020 | GSW Cypress | Backflow Supplier | Double Check Detector Assembly | 6" | USC approved | 2 | EA | P-1 Detail 1
RFQ-A-021 | GSW Cypress | Backflow Supplier | Reduced Pressure Backflow Assembly | 1" | GSWC P-25A | 2 | EA | T-1 GN-20
RFQ-A-022 | GSW Cypress | Specialty Supplier | 8 mil Polyethylene Encasement | 8 mil | AWWA C105 | 48 | LF | T-1 GN-8
RFQ-A-023 | GSW Cypress | Specialty Supplier | Link-Seal Penetration Seal | 2" annular | Detail 1 | 2 | EA | P-1 Detail 1
RFQ-A-024 | GSW Cypress | Concrete Supplier | Concrete Thrust Block | Per P-18 | CN-44, 48, 88 | 6 | EA | P-1
RFQ-A-025 | GSW Cypress | Concrete/Aggregate Supplier | Bedding, Backfill, AC, Slurry | Mixed | D-1 Std. 109, 324 | QUANTITY_REQUIRED | Mixed | D-1

## SET B - Whittier Water
RFQ ID | Plan Set | Supplier Category | Material Name | Material Size | Specification | Quantity | Unit | Plan Sheet Reference | Quote Due Date | Unit Price | Extended Price | Vendor | Notes
RFQ-B-001 | Whittier Water | Pipe Supplier | DIP Water Pipe Class 350 C104 | 4" | W-603 | 33 | LF | Sheet 2 Item 1
RFQ-B-002 | Whittier Water | Pipe Supplier | DIP Water Pipe Class 350 C104 | 6" | W-603 | 25 | LF | Sheet 2 Item 2
RFQ-B-003 | Whittier Water | Pipe Supplier | Type K Copper Service Tubing | 1" min. | WN-11 | 30 | LF | Sheet 3
RFQ-B-004 | Whittier Water | Valve Supplier | MJ Gate Valve and Assembly | 4" | W-620 | 1 | EA | Sheet 2 Item 3
RFQ-B-005 | Whittier Water | Valve Supplier | MJ Gate Valve and Assembly | 6" | W-620 | 1 | EA | Sheet 2 Item 4
RFQ-B-006 | Whittier Water | Fittings Supplier | MJ DI Tee | 8" x 8" x 4" | W-649 | 1 | EA | Sheet 2 Item 6
RFQ-B-007 | Whittier Water | Fittings Supplier | MJ DI Tee | 8" x 8" x 6" | W-649 | 1 | EA | Sheet 2 Item 7
RFQ-B-008 | Whittier Water | Meter Supplier | 1" Water Service Meter and Box | 1" | W-601 | 1 | EA | Sheet 2 Item 5
RFQ-B-009 | Whittier Water | Meter Supplier | 4" Underground Water Meter | 4" | W-605 | 1 | EA | Sheet 2 Item 9
RFQ-B-010 | Whittier Water | Backflow Supplier | FEBCO LF860 RP Backflow Preventer | 1" | W-610 | 1 | EA | Sheet 2 Item 8
RFQ-B-011 | Whittier Water | Backflow Supplier | FEBCO LF860 RP Backflow Preventer | 4" | W-611 | 1 | EA | Sheet 2 Item 13
RFQ-B-012 | Whittier Water | Backflow Supplier | FEBCO LF876V Fire Line DCDA with Bypass | 6" | W-606 | 1 | EA | Sheet 2 Item 10
RFQ-B-013 | Whittier Water | Restraint Supplier | Pipe Joint Restraint / Eagle Loc | Per size | W-636 / WN-13 | 2 | EA | Sheet 2 Item 12
RFQ-B-014 | Whittier Water | Restraint Supplier | EBBA Megalug MJ Restraint Adapter | Per size | WN-13 | 4 | EA | Sheet 2/3
RFQ-B-015 | Whittier Water | Concrete/Aggregate Supplier | Bedding, Backfill, CMB, AC, Concrete Repair | Mixed | General Notes | QUANTITY_REQUIRED | Mixed | Sheet 2

## SET C - Tract 82457 Sewer
RFQ ID | Plan Set | Supplier Category | Material Name | Material Size | Specification | Quantity | Unit | Plan Sheet Reference | Quote Due Date | Unit Price | Extended Price | Vendor | Notes
RFQ-C-001 | Tract 82457 Sewer | Pipe Supplier | Extra Strength VCP Sewer Pipe | 8" | CN-16 | 802.84 | LF | Page 2 Profile
RFQ-C-002 | Tract 82457 Sewer | Pipe Supplier | VCP House Lateral Assembly Type D | 4" | SPPWC 222-2 Type D | 24 | EA | Page 2 & Page 3
RFQ-C-003 | Tract 82457 Sewer | Pipe Supplier | VCP House Lateral Assembly Type C | 4" | SPPWC 222-2 Type C | 6 | EA | Page 3 Lots 25–30
RFQ-C-004 | Tract 82457 Sewer | Pipe Supplier | Proposed Water Main Pipe | 8" | PROP. 8" WATER | 802.84 | LF | Page 2
RFQ-C-005 | Tract 82457 Sewer | Pipe Supplier | Proposed Storm Drain Pipe | 24" | PROP. 24" SD | 320.4 | LF | Page 3
RFQ-C-006 | Tract 82457 Sewer | Pipe Supplier | Proposed Storm Drain Pipe | 12" | PROP. 12" SD | QUANTITY_REQUIRED | LF | Page 2
RFQ-C-007 | Tract 82457 Sewer | Fittings Supplier | 8" x 4" VCP Wye | 8" x 4" | CN-6 | 30 | EA | Page 2 & Page 3
RFQ-C-008 | Tract 82457 Sewer | Structure Supplier | Precast Concrete Sewer Manhole | Per 200-3 | LACPW 2023-2 | 4 | EA | Page 2 Profile
RFQ-C-009 | Tract 82457 Sewer | Structure Supplier | Cast Iron Manhole Frame and Cover | Locking | SPPWC 210-3 | 4 | EA | Sheet 1 CN-17
RFQ-C-010 | Tract 82457 Sewer | Structure Supplier | Terminal Cleanout Structure | SPPWC 204-2 | CN-19 | QUANTITY_REQUIRED | EA | Sheet 1
RFQ-C-011 | Tract 82457 Sewer | Specialty Supplier | Backwater Valve | Code 710 | Lots 26, 27 | 2 | EA | Sheet 1
RFQ-C-012 | Tract 82457 Sewer | Support Supplier | Wye or Tee Support | LACPW 2024-1 | Per lateral | 30 | EA | Page 2 & Page 3
RFQ-C-013 | Tract 82457 Sewer | Concrete/Aggregate Supplier | Bedding, Encasement, Backfill, AC | Mixed | SPPWC/LACPW std plans | QUANTITY_REQUIRED | Mixed | Sheet 1